| Protocol No |  | Sample issued to |  | Sample issued by |  |
| --- | --- | --- | --- | --- | --- |

| Sample Name |  | Sample Received on |  |
| --- | --- | --- | --- |
| Lab Code |  | Date of Analysis |  |

Observation Table:

| Sr.No | Name of test | Procedure | Result |
| --- | --- | --- | --- |
| 1 | Total Coliform | Filter 100 ml of the Water sample to be using a membrane filter on membrane filter assembly. Place the filter on the HiCrome Coliform agar media Petri Plates. Incubate at 370 C for 48 hrs. After Incubation take Kovac’s Indole Reagent put it on colonies 2-3 drops if pink to converted cherry red color then biochemical indole confirmatory test in the total coliform is present if color is not changes total coliform is absent |  |
| 2 | E. coli | Filter 100 ml of the Water sample to be using a membrane filter on membrane filter assembly Place the filter on the HiCrome Coliform agar medium Petri Plate Incubate at 370c for 48 hrs After Incubation take Kovac’s Indole Reagent put it on colonies 2-3 drops Blue color colonies to see on plates then E. coli is present |  |

Analyzed By:                                                                                                            Checked By:

Name                                                                                                                          Technical Manager:

Dated signature:                                                                                                           Dated Signature: